## input
! Comment line to describe the system - to be inputted
C 0 ! EnterH
V 0 P 0 t 380.058 ! Pressure [psia]
V 1 H 0 r 112.586 ! Enthalpy [Btu/lb]
V 2 T 0 i 100 ! Temperature [F]
V 3 X 0 o 0 ! Quality [-]
C 1 ! IndBlower
V 0 mass_flow_rate 0 r 1801.86 ! mass flow rate [lbm/h]; for air | it is dry air mass flow
V 1 HEAD 0 t 0.131789 ! static head | [inH2O] for air stream
V 2 Tin 0 g 57.1977 ! entering fluid temperature | [F]
V 3 Tout 0 r 57.3575 ! exit fluid temperature | [F]
V 4 vol_flow_rate_in 0 i 24000 ! ent volumetric flow rate | [ft^3/h]
V 5 Power 0 g 20.6538 ! Power consumption | [W]
V 6 PIN 0 g 14.6 ! entering pressure | [psia]
V 7 POUT 0 r 14.6048 ! exit pressure | [psia]
V 8 Conc 0 g 0.00963314 ! entering mixture fraction | for example | specific humdity of air | [lbh20/lbda]
V 9 vol_flow_rate_out 0 g 23999.6 ! ext volumetric flow rate | [ft^3/h]
V 10 TWB 0 o 56.5184 ! alternative air wet bulb input (attribute-i): IF 0.0 < Input <0.05 | HUMIDITY RATIO; IF 0.05<=Input<=1 | RELATIVE HUMIDITY; IF >1 or =<0 | WET BULB TEMP OF AIR ENTERING THE HEAT EXCHANGER (F)
V 11 TWBo 0 o 286.809 ! exit wet bulb temperature [F]
V 12 HIN 0 r 24.2185 ! inlet fluid enthalpy [Btu/lbm]
V 13 HOUT 0 r 24.2577 ! outlet fluid enthalpy [Btu/lbm]
V 14 Power_Adj 0 i 1 ! Power multiplier [-]
V 15 DP_Adj 0 i 1 ! static head multiplier multiplier [-]
V 16 flow_Adj 0 i 1 ! flow rate multiplier [-]
V 17 RPM 0 i 1500 ! blade rotational speed [RPM]
V 18 EFFICIENCY 0 i 0.3 ! fan or pump efficiency [-]
V 19 VOLP1000 0 g 266.667 ! volumetric flow rate per 1000 RPM [cfm] or [gpm]
V 20 Hper1000 0 g 0.0585574 ! Head per 1000 RPM; [inH2O] for air; psiD for coolant
C 2 ! FTCEvaporator
V 0 TSIN 0 g 52.5094 ! entering saturation temp [F] | if super-critical | it is the same as the inlet pressure
V 1 HIN 0 t 112.586 ! entering enthalpy [btu/lb]
V 2 HOUT 0 r 186.472 ! exit enthalpy [Btu/lb]
V 3 MR 0 r 172.646 ! refrigerant mass flow rate [lb/h]
V 4 A_V 0 r 0.092 ! vapor phase area
V 5 A_TP 0 r 0.908 ! two-phase area
V 6 A_L 0 r 0 ! liquid phase area
V 7 Q_V 0 r -698.095 ! vapor phase heat transfer rate [Btu/h]
V 8 Q_TP 0 r -12057.7 ! two-phase heat transfer rate [Btu/h]
V 9 Q_L 0 r -0.190546 ! liquid phase heat transfer rate [Btu/h]
V 10 DP_R 0 r 7.32054 ! refrigerant side DP [pisd]
V 11 CHARGE 0 r 0.230344 ! charge mass [lbm]
V 12 AIR_FLOW_RATE 0 r 1801.86 ! working fluid mass flow rate [lb/hr]
V 13 DP_AIR 0 r 0.0317885 ! fluid dp; if air [inH2O]; else [psiD]
V 14 TO_AIR 0 r 57.1977 ! fluid exit temperature [F]
V 15 TI_AIR 0 i 80 ! fluid entering temperature [F]
V 16 HUMI 0 t 0.0109941 ! fluid entering concentration or air specific humidity
V 17 P_ATM 0 i 14.6 ! fluild pressure [psia]; if air - atmospheric pressure
V 18 POUT 0 r 157.333 ! refrigerant exit pressure [psia]
V 19 PIN 0 r 164.454 ! refrigerant entering pressure [psia]
V 20 Q_TOT 0 r -13056.5 ! total heat transfer rate [Btu/h]
V 21 SPEC_EXT 0 i 15 ! exit subcooling | superheat dgree [F] or quality | quality is minus | if supercritical | the exit temp
V 22 SHR 0 o 0.77146 ! coil sensible heat tranfer ratio with no adjustment | output only
V 23 HUMO 0 r 0.00947336 ! fluid exit concentration; if air - specific humidity
V 24 HO_DRY 0 o 20.5257 ! fluid side dry heat transfer coefficient
V 25 HO_WET 0 o 20.3833 ! fluid side wet (or subcooler) heat transfer coefficient
V 26 UA_VAP 0 o 45.6129 ! vapor phase UA
V 27 UA_TP 0 o 813.93 ! two-phase UA
V 28 UA_LIQ 0 o 0 ! liquid-phase UA
V 29 UAo_TOT 0 o 1074 ! total air side UA
V 30 Rhin 0 o 0.5 ! inlet relative humidity [-]
V 31 Rhout 0 o 0.94502 ! outlet relative humidity [-]
V 32 CONC 0 o -1 ! refrigerant mixture concentration [0 to 1]
V 33 TWB 0 i 0.5 ! IF 0.05<=Input<=1 | RELATIVE HUMIDITY
V 34 TDBREF 0 o 80 ! reference dry bulb temprerature for curve-fit functions (F)
V 35 TWBREF 0 o 67 ! reference wet bulb temprerature for curve-fit functions (F)
V 36 TREFOUT 0 o 65.2623 ! exit refrigerant temperature [F])
V 37 Rhoin 0 o 0.0717507 ! inlet air density [lbm/ft^3])
V 38 Rhoout 0 o 0.0749328 ! outlet air density [lbm/ft^3])
V 39 TWBo 0 o 56.245 ! exit air wet bulb temprerature [F]
V 40 SCFM 0 o 399.53 ! air flow [SCFM])
V 41 Vair_out 0 o 400.771 ! exit volumetric air flow rate [cfm])
V 42 DPheader 0 o 0 ! gas header pressure drop [psiD]
V 43 DPtot 0 o 7.12171 ! total heat exchanger pressure drop [psiD]
V 44 TREFIN 0 o 52.5472 ! entering refrigerant temperature [F])
V 45 InVol 0 o 0.0167704 ! total inner volume [ft^3]
V 46 M_V 0 o 0.00390086 ! vapor phase charge [lbm]
V 47 M_TP 0 o 0.223707 ! two-phase charge [lbm]
V 48 M_LIQ 0 o 0 ! liquid-phase charge [lbm]
V 49 Cp_fluid 0 o 0.245004 ! average specific heat of single-phase fluid | e.g. air [Btu/F/lbm]
V 50 TDBREF1 0 o 80 ! secondary reference dry bulb temprerature for curve-fit functions (F)
V 51 TWBREF1 0 o 67 ! secondary reference wet bulb temprerature for curve-fit functions (F)
V 52 Afront 0 o 2.0834 ! frontal flow area [ft^2]
V 53 ASprimary 0 o 3.48112 ! primary surface area [ft^2]
V 54 ASsecond 0 o 90.0359 ! secondary surface area [ft^2]
V 55 BYPASSFLRATIO 0 i 0 ! bypass flow ratio [-]
V 56 BYPASSFAC 0 o 0.0647654 ! bypass factor [-]
V 57 TubeWeight 0 o 0 ! Tube weight [lbm]
V 58 FinWeight 0 o 0 ! Fin weight [lbm]
V 59 TotFinWeight 0 o 0 ! Total Fin weight with No holes [lbm]
M 0 NNN 0 r 0.502379 ! NNN
M 1 NNN 0 r 0.86195 ! NNN
M 2 NNN 0 r 0.86195 ! NNN
M 3 NNN 0 r 0.829881 ! NNN
M 4 NNN 0 r 281.112 ! NNN
M 5 NNN 0 r 482.187 ! NNN
M 6 NNN 0 r 482.187 ! NNN
M 7 NNN 0 r 464.258 ! NNN
M 8 NNN 0 r 0.00023893 ! NNN
M 9 NNN 0 r 9.79108e-09 ! NNN
M 10 NNN 0 r 0.025575 ! NNN
M 11 NNN 0 r 18.9996 ! NNN
M 12 NNN 0 r 0.310466 ! NNN
M 13 NNN 0 r 0.0424006 ! NNN
M 14 NNN 0 r 0.246373 ! NNN
M 15 NNN 0 r 1.23076 ! NNN
M 16 NNN 0 r 1.27711e-17 ! NNN
M 17 NNN 0 r 1 ! NNN
C 3 ! SuctionLine
V 0 MR 0 r 172.646 ! refrigerant mass flow rate [lb/h]
V 1 H_in 0 r 186.472 ! entering enthalpy | [Btu/h]
V 2 H_out 0 r 186.472 ! exit enthalpy | [Btu/h]
V 3 P_in 0 r 157.333 ! inlet pressure | psi
V 4 P_out 0 t 157.333 ! exit pressure | psi
V 5 DP 0 i 0 ! pressure drop [psid]
V 6 DH 0 r -0 ! enthalpy change [btu/lb]
V 7 DQ 0 r 0 ! line heat transfer rate | [btu/hr]
V 8 DP_Adj 0 r 0 ! Pressure drop multiplier [-]
V 9 DT 0 i 0 ! reference temperature drop at single phase specific heat | [R]
V 10 CHARG 0 o 0.227184 ! charge mass | [lbm]
V 11 VOLin 0 o 70.2185 ! entering volumeric flow rate [ft^3/hr]
V 12 VOLout 0 o 70.2185 ! leaving volumeric flow rate [ft^3/hr]
V 13 Vin 0 o 7.734 ! entering flow velocity [ft/s]
V 14 Vout 0 o 7.734 ! leaving flow velocity [ft/s]
M 0 NNN 0 r 3.37105e-06 ! NNN
M 1 NNN 0 r 0.294789 ! NNN
C 4 ! SuctionP
V 0 P 0 r 157.333 ! Pressure [psia]
V 1 Tsat 0 i 50 ! Saturation Temperature [F]
V 2 Quality 0 i 1 ! input refrigerant quality; 0 to 1 [-]
V 3 Concentration 0 o -1 ! Concentration [-]
V 4 Enthalpy 0 r 182.261 ! Enthalpy [Btu/lbm]
V 5 SpecVolume 0 o 0.382143 ! Specific volume [ft^3/lbm]
V 6 Entropy 0 o 0.427822 ! Entropy [Btu/lbm/F]
V 7 IntEnergy 0 o 171.144 ! Internal energy [Btu/lbm]
V 8 Density 0 o 2.61682 ! Density [lbm/ft^3]
V 9 K 0 o 0.00763434 ! Thermal conductivity [Btu/hr/ft/F]
V 10 Visc 0 o 0.030857 ! Viscosity [lbmf/ft]
V 11 Cp 0 o 0.294789 ! Specific heat [Btu/lbm/F]
V 12 SurTension 0 o 0.00050893 ! Surface tension [lbf/ft]
V 13 PrandtlNum 0 o 1.1915 ! Prandtl Number [-]
V 14 KineVisc 0 o 0.0117918 ! Kinematic Viscosity [ft^2/hr]
C 5 ! DiscP
V 0 P 0 r 380.058 ! Pressure [psia]
V 1 Tsat 0 t 110 ! Saturation Temperature [F]
V 2 Quality 0 i 1 ! input refrigerant quality; 0 to 1 [-]
V 3 Concentration 0 o -1 ! Concentration [-]
V 4 Enthalpy 0 r 182.46 ! Enthalpy [Btu/lbm]
V 5 SpecVolume 0 o 0.140087 ! Specific volume [ft^3/lbm]
V 6 Entropy 0 o 0.41082 ! Entropy [Btu/lbm/F]
V 7 IntEnergy 0 o 172.614 ! Internal energy [Btu/lbm]
V 8 Density 0 o 7.13842 ! Density [lbm/ft^3]
V 9 K 0 o 0.011809 ! Thermal conductivity [Btu/hr/ft/F]
V 10 Visc 0 o 0.0369168 ! Viscosity [lbmf/ft]
V 11 Cp 0 o 0.474464 ! Specific heat [Btu/lbm/F]
V 12 SurTension 0 o 0.000191166 ! Surface tension [lbf/ft]
V 13 PrandtlNum 0 o 1.48325 ! Prandtl Number [-]
V 14 KineVisc 0 o 0.00517157 ! Kinematic Viscosity [ft^2/hr]
C 6 ! FanHead
V 0 FanHead 0 o 0.131789 ! result of the equation
C 7 ! DisSat
V 0 DisSat 0 o 110 ! result of the equation